## SUMMARY
COST SUMMARY
| Project Name: | PLAINFIELD PUBLIC LIBRARY - ATRIUM INFILL
| Location: | HIDDEN DUE TO PRIVACY POLICY
| Date: | 2025-05-27
| Project Type: | COMMERCIAL
| Scope of Work: | HVAC
CSI Summary for Base Bid
| Div. No. | CSI Division | Labor Cost | Material Cost | Equipment Cost | Total Cost | % of sub-total cost
| DIV.01 | GENERAL CONDITIONS | 0 | 0 | 0 | 0 | #DIV/0!
| DIV.02 | EXISTING CONDITIONS | 0 | 0 | 0 | 0 | #DIV/0!
| DIV.23 | HVAC | 0 | 0 | 0 | 0 | #DIV/0!
|  | SUB TOTAL | 0 | 0 | 0 | 0
|  | MATERIAL TAX (8.5%) |  | 0 |  | 0
|  | PROFIT (20%) |  |  |  | 0
|  | TOTAL BASE BID |  |  |  | 0

## BASE ESTIMATE
SR # | REFERENCE SHEET | DETAIL SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR WAGE | UNIT LABOR COST | TOTAL LABOR COST | BARE EQUIPMENT COST | TOTAL EQUIPMENT COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT COST (Lab+Mat+Equip.) | TOTAL ITEM COST | TOTAL TRADE COST
Estimate of Materials and Cost of Construction
[9 empty] | Project Name: | PLAINFIELD PUBLIC LIBRARY - ATRIUM INFILL
[9 empty] | Location: | HIDDEN DUE TO PRIVACY POLICY
[9 empty] | Date: | 2025-05-27
[9 empty] | Project Type: | COMMERCIAL
[9 empty] | Scope of Work: | HVAC
SR # | REFERENCE SHEET | DETAIL SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT OF MEASURMENT | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR WAGE | UNIT LABOR COST | TOTAL LABOR COST | BARE EQUIPMENT COST | TOTAL EQUIPMENT COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT COST (Lab+Mat+Equip.) | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV.01 | GENERAL REQUIREMENTS | [15 empty] | 0
Project Management & Supervision
1 |  |  |  | Project Management & Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equipment and Tools
2 |  |  |  | Mobilization/Demobilization (Temporary Control & Facilities) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DIV.02 | EXISTING CONDITIONS | [15 empty] | 0
Demolition
3 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Remove Existing Lighting | 45 | 0% | 45 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Remove Return registers | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Remove Registers | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DIV.23 | HVAC | [15 empty] | 0
HVAC
Pipes
6 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 3/4" Cold Water Pipe | 92.81 | 5% | 97.4505 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Refrigerant Piping (5/8" gas) | 191.75 | 5% | 201.3375 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Refrigerant Piping (3/8" Liquid) | 191.75 | 5% | 201.3375 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ductwork
9 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 4" Dia Ductwork | 63.36 | 5% | 66.528 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 10x6 Ductwork | 159.97 | 5% | 167.9685 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 10x10 Ductwork | 181.12 | 5% | 190.176 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 12x8 Ductwork | 19.5 | 5% | 20.475 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 14x14 Ductwork | 2.32 | 5% | 2.436 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC Items
14 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 24"x24" Ceiling Return registers Manf: Titus | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | 72"x12" Ceiling Return registers Manf: Titus | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 2 (150 CFM) Manf: Titus | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 2 (500 CFM) Manf: Titus | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 3 (275 CFM) Manf: Titus | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 3 (300 CFM) Manf: Titus | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 4 (150 CFM) Manf: Titus | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 4 (170 CFM) Manf: Titus | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 4 (500 CFM) Manf: Titus | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 5 (275 CFM) Manf: Titus | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | High Sidewall Return Resister as 5 (300 CFM) Manf: Titus | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC Utilities
25 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Fan Coil Unit | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Thermostat | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Unknown Equipment as HP | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Volume Damper | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HVAC Equipment's
29 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Unit Heater as EDH-1A 3kw, 10.2 MBH, 470 CFM, CBK, WARREN | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Unit Heater as EDH-1B 1.5kw, 5.11 MBH, 470 CFM, CBK, WARREN | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Unit Heater as EDH-2A 3kw, 13.6 MBH, 470 CFM, CBK, WARREN | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Unit Heater as EDH-2B 1.5kw, 6.8 MBH, 470 CFM, CBK, WARREN | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Energy Recovery Unit as ERV-1 470/470 CFM, 3.9 MCA, 15 MOCP, VAM4700GVJU, 121 LBS | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | M0.001 TO FA.102 | M0.001 TO FA.102 |  | Energy Recovery Unit as ERV-2 470/470 CFM, 3.9 MCA, 15 MOCP, VAM4700GVJU, 121 LBS | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUB TOTAL | [8 empty] | Total Lab. Hours: | 0 | Total Lab. Cost: | Total Lab. Cost: | 0 | Total Equip. Cost: | 0 | Total Mat. Cost: | 0 |  | 0 | 0
MATERIAL TAX (8.5%) | [17 empty] | 8.5% | 0 | 0
PROFIT (20%) | [17 empty] | 20% | 0 | 0
OVERHEAD (15%) | [17 empty] | 15% | 0 | 0
TOTAL BASE BID | [18 empty] | 0 | 0
.